Technical Guideline - Community pond

- Preliminary comments

New pond construction VS pond rehabilitation/upgrading

There is a consensus on the fact that priority should be given to old ponds rehabilitation, if any, and not to new ponds construction. Some say that as many as 50% of new ponds fail to provide fresh water, at least for the first 4 years after construction (water seepage). A thorough survey should be conducted to assess the ponds’ use before Nargis. Most villages have one or two preferred ponds for drinking water, and others used primarily for other needs. The drinking water pond(s) may not be the largest or even the one(s) closest to villages. Consult with villagers (esp. women) to identify the pond they primarily use for drinking water. While the priority should be for drinking water ponds, villages may request assistance for ponds covering other needs (household, livestock, and irrigation)

Health promotion & household level water treatment

Due to the high risks of contamination in surface water sources, pond-related activities must be accompanied by public health promotion work directed at safe water treatment before consumption.

Community development

Strengthening the local capacity to maintain the pond is a key factor of sustainability for community water storage options. Creating or empowering and training a Water Committee, as well as setting in place a fees scheme to support maintenance and purchase of spare parts should be systematically considered.

Community Participation

Strong levels of engagement with local people before, during and after pond construction & rehabilitation is critical to effective relief operations. It is also a basic means of demonstrating accountability.

As pond maintenance is an annual activity in the Ayeyarwaddy Delta region, local expertise is high. Many agencies have found that providing tools (including fuel for pumps) is all that some villages need to clean ponds for example.

While men are typically involved in direct pond construction / maintenance operations, women are more involved then men in collecting, storing and treating water. Understanding women’s needs and views, and taking them into consideration, is important for a successful operation.

Cash for Work vs. Voluntary Labour

Cyclone affected families need money, as well as materials and technical assistance. Cash for work (CFW) schemes can be an effective method of cleaning ponds and supporting local recovery.

Consult with other agencies involved in local pond related activities before implementing CFW schemes. If many agencies in nearby villages are using voluntary labour for pond cleaning, care must be taken when introducing cash for work schemes to avoid resentment or other disincentives to voluntary labour.

Current labour costs (according to markets and operating agencies using CFW) are 2,000- 2,500 MMK per person per day.

- Construction of a new pond

- Timeframe for digging

The digging must happen after the start of the dry season (water table) and end before the rainy season. It has to be calculated according to the rainfall of the specific area but the window in the delta is roughly as following:

| J | F | M | A | M | J | J | A | S | O | N | D | J | F | M | A | M | J | J | A | S | O | N | D |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

- Dug ponds VS raised ponds

In the area where the salt water table is high, the option of raising the ponds should be favoured, to prevent salt water intrusion from the bottom of the pond.

- Depth

The depth of the pond obviously depends on the salt water table, which should be located beforehand, and on the soil composition.  Ponds in the delta go from 1 foot (raised pond) down to 8 feet.

- Digging

Using CFW or voluntary labour (see above)

Hand tools: shovels, pickaxes, wheel barrow (traditional one made of 2 bamboo poles and 1 rice bag)

Mechanic tools (if no logistics constraints): backhoe

- Soil

Different layers of soil can be found in the delta, from clay to sandy soil. It is recommended to perform one (or several) soil profile(s) to locate the water table and the clay layer. The profile should reach down to minimum 3 meters depth.

- Size

Depends on community size + targeted need + rainfall intensity + evaporation during the dry season

The standard ponds in the delta go from ½ acre to 1 acre.

EXAMPLES to be provided? (size//population//use)

- Location

Involve the community

Far from seepage water / latrines (30m )

Distance to the river (salt water intrusion)

Land plot property / donation…

For embankment / fencing / water collection see section 3. Pond rehabilitation / upgrading

- Pond rehabilitation / upgrading

    - Time frame for rehabilitation

Upgrading a pond is a several steps process.

- Cleaning should be done at the very end of the dry season (earlier only if the pond is contaminated and no longer used by the community for any kind of needs) and ideally stop with the rainy season (early May)

- The construction / maintenance of the embankment and the fencing should be done in the same window, and can even start in March

- Installation of the facility to draw the water out of the pond has to be ready for the early dry season, when people have used rain water stored at household level

|  | J | F | M | A | M | J | J | A | S | O | N | D |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Cleaning |  |  |  |  |  |  |  |  |  |  |  |  |
| Embankment |  |  |  |  |  |  |  |  |  |  |  |  |
| Fencing |  |  |  |  |  |  |  |  |  |  |  |  |
| Water Collection facility |  |  |  |  |  |  |  |  |  |  |  |  |

    - Cleaning

Cleaning should be limited to water only, no digging should be performed inside the pond, as the top soil layer will protect the pond from salt water intrusion (clay sedimentation). By using bamboo / timber / metal scraping tools, several inches of saline saturated soil can be removed. Care must be taken in areas with high water table to avoid excessive scraping, which could cause seepage and further saltwater intrusion.

- Initial Drainage

Manually breaching the embankment walls at one or two points is the typical way to rapidly drain a pond. Care must be taken with embankments that have a high sand content to avoid erosion and possible embankment failure. In areas where there is a lack of clay to add as a soil stabilizer when rebuilding sandy embankments, only pumps should be used to drain the pond.

To avoid risks of flooding or mudslides affecting nearby buildings, latrines, and agricultural lands, ensure that the drained water is safely diverted to existing drainage ditches or watercourses.

- Pumps and Pumping Strategies

As cutting through embankment walls typically removes the top meter or so of water, pumping the remaining water is necessary. While pump selection typically depends upon the size of the pond and the static lift, locally available pumps and engines should be favoured. Local pumps are more familiar to villagers, and purchasing locally can contribute to a wider livelihood recovery than using imports.

Two styles of pumps have been found useful for pond cleaning in the Delta:

- Suction pump and engine: Chinese 4” suction model with 10 to 18hp diesel engine mounted to steel frame. Readily available in Yangon. Cost $350 to $1850. Recommended for static lifts of greater than 1.6 m.

- Axial flow pump: Myanmar “Delecher” pump ($200). Requires a separate agricultural diesel engine costing $230 for 7.5 hp. Both items readily available in the Delta. Recommended for static lifts of less than 1.5 m.

Using two or more pumps is recommended whenever possible, as this enables pumping of the average pond to be completed in a single day. Asking nearby villages to lend their pumps to each other has been a rapid and effective pond cleaning strategy for several agencies.

In average sized pond (40 X 72 X 1.6 meters), fuel consumption per pond is likely to be 5or 6 gallons for axial pumps, 10-15 litres for suction pumps. Oil consumption is approx. 2 litres per pond for the axial flow pumps, and 1 litre for suction pumps.

The use of intake strainers is to avoid debris blockages is critical for suction pumps. A one-inch diameter gaps in strainers has been found adequate, as have the use of large woven bamboo baskets as strainers.

- Removing Debris and Deposits

All debris and organic matter should be removed from the pond after drainage. A safe disposal site located away from other watercourses should be identified.

Sedimentation can form a layer protecting the bottom of the pond from salt water intrusion and should not be removed. However, saline, acid sulphate and other mineral deposits are likely to be present on the pond bottom after draining. By using bamboo / timber / metal scraping tools, several inches of saline saturated soil can be removed. Care must be taken in areas with high water table to avoid excessive scraping, which could cause seepage and further saltwater intrusion.

Soil removed from the pond bottom should not be used to raise the embankment height, due to risk of further contamination. All saline saturated soil should be safely disposed of, preferably away from the pond, agricultural lands, and watercourses.

- Need for Repeated Cleaning

Some agencies report that they have needed to return and re-clean ponds due to high salinity in the pond water. This is likely due to saline saturated soil on the pond bottom and sides. Drain and re-clean the pond as noted above. Just after Nargis, ponds needed cleaning at least 3 times.

If local people still find the re-cleaned pond water unacceptable, request a community meeting to discuss their concerns and possible options (such as cleaning other ponds).

- Protection of pond bottom & embankment

Platform

Local knowledge in pounding the bottom of the ponds is high; villagers sometimes have their cattle to walk around the empty pond.

Clay layer

Using clay at the bottom of the pond and inside the embankment is identified as an efficient protection for leaking and/or salt water intrusion. Brown clay (elasticity) should be used over red clay (strength). The clay layer should be 2 to 3 inches. The main issue is the local availability of brown clay in the delta.  Straw and borrow soil are sometimes burnt above the clay layer to strengthen it (brick manufacturing process). Also, some villagers mix the clay with manure, which is not recommended.

Bentonite

Bentonite is sometimes mentioned as an option but is not recommended for obvious cost reasons, and for the lack of sustainability (no local knowledge and maintenance)

Plastic protection

    - Water treatment at pond level

- Use of Lime (Calcium Oxide) in Pond Cleaning

Calcium oxide (CaO) (lime) is sometimes used during pond cleaning in Myanmar. The addition of lime to ponds (liming) increasing its alkalinity, raising pH levels in the pond as it fills. Higher pH levels can contribute to more rapid decomposition of organic matter that falls into the pond after it has been cleaned.

Higher pH levels in pond water encourage flocculation and coagulation to occur. Flocculation helps clarify water and reduces turbidity, as it helps sediments from rainwater runoff and wind or rain blown debris to form flocs or clusters that can settle on the bottom of ponds.

Some villages believe lime is necessary to chemically disinfect ponds after the cyclone. As lime is a caustic compound, it is an effective disinfectant. However, the disinfectant properties of lime rapidly diminish when exposed to air or moisture.

Although liming ponds is not particularly effective method of reducing the salinity of pond water, some villages in the Delta cite this as the reason they add lime during pond cleaning. The perception that lime reduces saline water taste in pond water is most likely due to the hardening and adhesive quality of lime. When lime is mixed with clay soils at the bottom of the pond, it forms a plaster-like crust that reduces leeching from the saline saturated soils.

Liming pond is best done after the pond has been drained, and organic material and the top layer of saline saturated soil from the bottom of the pond has been removed by scraping. For an average size pond (40 X 72 X 1.6 meters), fourteen to sixteen 10kg bags are spread along the pond bottom and tamped into the soil. Spreading lime over ponds that have partly filled with water is not particularly effective.

Local people will generally indicate to agencies if they require liming as part of the pond cleaning process. Some agencies have adopted a “no request, no liming” practice.

- Chlorination

Chlorination is not recommended at community level – very limited impact

- Alumn (Kyauk chin)

Alumn is used as flocculent in some villages and is available in traditional medicine shops. However, due to limited impact it is not recommended at community level

- Bio treatment

Lotus plants - Water lilies (turbidity)

Drumstick seeds: good disinfectant (locally in the delta) drying seeds, powder  in the water

Reed plants for filtration

EM (Effective Microbes) is also experienced rather successfully in the delta. It is composed of 7 to 12 microbes and can control harmful microbes and reduce salinity. It is thrown in the ponds with nutrients and sand (ball shape). The decrease in salinity is not immediate and can be observed after 2 weeks / 1 month. 8 villages are currently under testing in the delta.

Other: Banana trees for shadow?

    - Embankment

- Height

Must be over the maximum high tide /flood level, ask the community.

- Erosion

Deep rooted plant / grass can prevent erosion.

Embankment in clay will be stronger than sandy ones.

Posts of the fencing can participate to embankment stabilisation.

Use sticky clay + core soil (borrow soil)  see graph

Enlarge the pond if possible (traditional process)  see graph

    - Fencing

- Pond Protection & Regulating Access

Reducing the risk of contaminants to drinking water ponds requires protective measures based on three key principles:

- Restricting activities around the pond;

- Restricting activities in the pond;

- Widespread support from the local community

Fencing off ponds can be effective in reducing the risks of faecal contamination by livestock or other animals (including humans). Grasses and low ground cover make for more effective “green fencing” than live bamboo or shrubs, as the latter have thirsty roots.

- Surrounding ditch

Some agencies (AMI) dig a ditch around the pond. This secures the perimeter of the pond and prevents flooding at least at the early stage of the rainy season. The earth excavated can be used for the embankment of the pond itself in situation where it is not possible to dig too deep.

- Location of the fencing

The location of the fence depends on the slope (stability of the posts) and on the maximum high tide water level (corrosion of the fence). In case of new pond/embankment, the soil must be well compressed before installing posts.

3 possible locations:

1. At the top of the embankment

| + | - |
| --- | --- |
| Less posts and wire mesh (cost) | Risk of weakening embankment |
| Proximity to water for remote collection | Risk of falling fence (erosion) |
| Fence protected from corrosion (flood) | Water contamination risk |
| No need for additional space around the pound |  |

2. In the middle of the slope

| + | - |
| --- | --- |
| Participation to embankment strengthening | Risk of weakening embankment |
| Fence protected from corrosion (flood) | Risk of falling fence (erosion) |
|  | Difficulty if steep slope |

3. Down the slope either 10 to 20 feet away

| + | - |
| --- | --- |
| Pond area clearly limited | More space needed around the pond |
| Reduced water contamination risk | More posts and wire mesh (costs) |
| Strength of the fence | Distance to water for remote collection |
|  | Corrosion of the fence (flood)* |

* for example AMI protects the posts from corrosion with a 6 layers’ brick footing. This also ensures the stabilisation of the post.  They also dig a ditch around the pond for protection of the fence.

- Posts

Posts should be in concrete that can be made locally, some past experiences with wood failed (used for shelter construction of nearby households) 1 cement bag = 7 posts

Footing should be installed for posts in the corner and mid length / width. Stones, bricks, concrete etc. should be used to stabilise the foundation of the posts.

9 feet minimum high for post  2 feet in soil, 2 feet in embankment, rest above the ground

8 feet between 2 posts –

- Fence

5 barbed wire size  see drawing IRC

If near to village: wiremesh

3 levels of wiremesh

1 door at least for maintenance, with lock

    - Water collection

- Slow sand filter

Filter has to be outside the pond for easy maintenance

Filter media inside (charcoal, coconut husk…)

| + | - |
| --- | --- |
| Reduced turbidity from 100 to 30 | Heavy maintenance |
|  | Local availability of sand & spare parts needed at least at township level |
|  | Bacteria development inside the filter |
|  | Cost? |

- Hand pump

Some agencies have experiences the installation of hand pumps outside of the fence, linked to floating pipes (buoys)

Foot operated pedal pumps are also common lifting devices used to transfer water from ponds.

| + | - |
| --- | --- |
| Reduced turbidity | Heavy maintenance |
| Number of taps adapted to population catchment | Local availability of sand & spare parts needed at least at township level |
| Cost? | Water remaining in the pond |

- Dug well (storage tank through filtration)

Connected to the bottom of the well, outside the fencing (pipe) filter media

Brick well - 5/6 feet depth

Filled with sand during the rainy season

| + | - |
| --- | --- |
| Cost | Need for 1 container (contamination) |
| Filtration process | Proximity of latrines |
| All water is used |  |

- Steps / Jetties

Direct water collection inside the pond is not recommended as people might have to dip their water containers, or themselves, directly in the water, thus increasing the turbidity and risk of water contamination. However, this low cost solution could be implemented with solid health promotion, community development and household level water treatment in parallel.

To permit easy access to a fenced pond, consider building wide steps or ramps (2-3 meters) leading up to the pond edge and into the pond. This will make it easier for people collecting water when using buckets on opposite ends of bamboo poles.

Access to pond water can also take the form of platforms or jetties that extend into the pond water. Typically made of bamboo, platforms can either be fixed or floating on the pond surface. A sturdy guardrail should be attached to the platform or fixed on the pond bottom for safety when leaning into the pond to collect water.

| + | - |
| --- | --- |
| Low cost | Increased turbidity |
| Low technical – local availability of spare parts | Water contamination |
|  | Door left open (animals, children) |

- Bank mounted water lifting devices

Bank mounted water lifting devices are also used in ponds in the Delta to help prevent water contamination. The simplest method is through a bamboo pole and bucket that swings from the pond onto the embankment.

| + | - |
| --- | --- |
| Cost | Fragile |
| Low technical – local availability of spare parts | Yield |
| Limited water contamination | Difficult in big ponds (4m maximum to the bank) |
| Gravitational system | Remaining water |

 examples

 pictures

 costs

 Referent agencies

    - Pond Water Quality Monitoring and Testing

As acceptable levels of salinity in water supplies depend upon local custom and previous exposure to saline water, rely on local knowledge over conductivity meters to determine salinity.

Testing for e-coli bacteria in pond water is most useful when part of a health and hygiene promotion campaign on safe household water treatment. Make sure that test results are available from both the water source (pond) and from storage containers at random households.

Sum up of referent agencies:

| Topic | Referent Agency / NGO | Contact |
| --- | --- | --- |
| Fencing | AMI / IRC / CESVI |  |
| Pond sand filter | FRC – MRCS |  |
| Hand pump installation | AMI |  |
| Bank mounted water lifting devices | Solidarités |  |